## SUMMARY — Education Campus
EDUCATION CAMPUS — COST SUMMARY (School + Coaching + Library + Study Center)
Club Deeper LLP ¦ Eduval Pvt. Ltd. ¦ July 2026 ¦ All figures in INR ¦ Indicative — validate with civil engineer & architect
Project / Component | Type | Area / Qty | Unit Rate (₹) | Base Cost (₹) | Notes
CIVIL CONSTRUCTION
School Block A — 4 floors (38,000 sq ft) | Civil | 38,000 sq ft | ₹2,500/sq ft | ₹9,50,00,000 | Block A, Academic Zone
Library Block B — 2 floors (5,200 sq ft) | Civil | 5,200 sq ft | ₹2,500/sq ft | ₹1,30,00,000 | Block B, Academic Zone
Coaching Centre — 4 floors (18,000 sq ft) | Civil | 18,000 sq ft | ₹2,500/sq ft | ₹4,50,00,000 | SEPARATE LAND — standalone block
Open plaza + covered walkways | Civil | 8,000 sq ft | ₹500/sq ft | ₹40,00,000 | Academic zone connecting areas
Covered walkway structure (steel+polycarbonate) | Civil | 200 running ft | ₹15,000/rft | ₹30,00,000 | Linking school to library
Internal roads in academic zone | Civil | 15,000 sq mt | ₹1,200/sq mt | ₹1,80,00,000 | 3 km × 5m width
Perimeter compound wall / fencing | Civil | 700 metres | ₹400/metre | ₹2,80,000 | 5-acre zone perimeter
Main gate structure + boom barrier | Civil | 1 lump sum | ₹5,00,000 | ₹5,00,000 | Security gate
Parking + bus bays (paved) | Civil | 6,000 sq ft | ₹500/sq ft | ₹30,00,000 | Academic zone parking
Landscaping — green areas | Civil | 1,74,240 sq ft | ₹150/sq ft | ₹2,61,36,000 | 86% of 5-acre zone
Utilities — MEP (water, power, drainage, STP, solar civil) | Civil | 1 lump sum | — | ₹1,50,00,000 | ~15% of building cost estimate
CIVIL SUBTOTAL |  |  |  | ₹22,29,16,000
FIT-OUT & EQUIPMENT
School — classroom furniture (benches, IFP, PA) | Fit-Out | 30 classrooms | — | ₹70,20,000 | Per detailed sheet
School — science lab equipment (4 labs) | Fit-Out | 4 labs | — | ₹18,87,500 | CBSE-compliant packages
School — computer + technology labs | Fit-Out | 2 labs | — | ₹42,35,000 | Computer lab + Robotics lab
School — canteen kitchen equipment | Fit-Out | 1 kitchen | — | ₹15,80,000 | Commercial kitchen
School — hostel furniture (576 students) | Fit-Out | 576 students | — | ₹94,80,000 | Beds, wardrobes, desks
School — arts/music studio equipment | Fit-Out | 1 studio | — | ₹1,80,000 | Instruments
School — admin & staff room furniture | Fit-Out | 1 school | — | ₹6,90,000 | Principal, VPs, seminar rooms
School — technology systems (CCTV, Wi-Fi, PA, Solar) | Fit-Out | 1 school | — | ₹75,50,000 | Per detailed sheet
Library — furniture, books, RFID system | Fit-Out | 1 library | — | ₹57,00,000 | Per detailed sheet incl. 10,000 books
Coaching Centre — fit-out (CBT computers, AV, furniture) | Fit-Out | 2 CBT labs + 2 lecture halls | — | ₹65,00,000 | 200 computers, IFP, furniture
Study Center — furniture & resources | Fit-Out | 2 rooms + self-study hall | — | ₹8,00,000 | Integrated with school block
FIT-OUT SUBTOTAL |  |  |  | ₹3,56,22,500
TOTAL — EDUCATION CAMPUS (Civil + Fit-Out) |  |  |  | ₹25,85,38,500 | ~₹26 Crores
Contingency (10%) |  |  |  | ₹2,58,53,850 | Standard project contingency
GRAND TOTAL — EDUCATION CAMPUS |  |  |  | ₹28,43,92,350 | ~₹28 Crores; survey estimate ₹15 Cr for school Phase 1 only
NOTE: All costs are indicative based on Pune/Maharashtra market rates (July 2026). Final costs to be validated by the appointed civil engineer (Dr. Shivaji Padwal) and architect (Omkar Yanbhar, Yo+ Architect) through detailed BOQ preparation after schematic design is approved. Coaching Centre cost shown separately as it is on separate land.

## School - Civil
DEEPER PUBLIC SCHOOL (CBSE/K12) — CIVIL CONSTRUCTION COST SHEET
Location: Block A, 5-Acre Academic Zone ¦ Construction Rate: ₹2,500 per sq ft (built-up) ¦ Open Space: ₹500/sq ft ¦ Road: ₹1,200/sq mt ¦ Fencing: ₹400/metre
Component | Description | Area / Qty | Unit | Rate (₹) | Total Cost (₹) | Notes
1. BUILDING STRUCTURE — BLOCK A (School)
School Block A — 4 floors (Ground+1F+2F+3F) | Composite RCC construction incl. labs, lifts, shaft, services rough-in, doors & windows | 38000 | sq ft | 2500 | 95000000 | Rate includes structure, finishing, MEP rough-in, lifts, staircases
Lift — Passenger (1 no.) | 8-person capacity; stainless cabin; ARD; all 4 floors | 1 | unit | 1200000 | 1200000 | Passenger lift installed Pune ₹10–15L
Lift — Service (1 no.) | 600 kg capacity; kitchen service; G to 1F | 1 | unit | 800000 | 800000 | Service lift installed ₹7–10L
Chemistry lab fume exhaust shaft | Full-height shaft G to roof; MS ducting; exhaust fan | 1 | lump sum | 150000 | 150000 | Fume shaft + fan installation
Rooftop waterproofing + solar prep | Waterproofing; panel footings provision; access staircase | 9500 | sq ft | 300 | 2850000 | Solar structural loading provision
SUBTOTAL — BUILDING STRUCTURE |  |  |  |  | 100000000
2. OPEN SPACE & LANDSCAPING
Open plaza + covered walkway base | Paved hardscape between blocks; drain channels | 8000 | sq ft | 500 | 4000000 | Granite/sandstone paving
Covered walkway steel structure | Steel + polycarbonate roofing; 10 ft wide × 200 ft long | 200 | running ft | 15000 | 3000000 | Steel pergola structure installed
Parking + bus bays | Paved; line marked; drainage; kerb edges | 6000 | sq ft | 500 | 3000000 | Interlocking paving
Landscaping (green open areas) | Site grading, topsoil, grass, trees, irrigation | 174240 | sq ft | 150 | 26136000 | 5 acres total; buildings occupy ~11,000 sq ft footprint
SUBTOTAL — OPEN SPACE |  |  |  |  | 36136000
3. ROADS & FENCING
Internal roads in academic zone | 5m wide bituminous surface; kerb; footpath both sides | 15000 | sq mt | 1200 | 18000000 | 3 km length × 5m width = 15,000 sqm
Perimeter compound wall/fencing | 6-ft concrete slab boundary — 5-acre zone perimeter | 700 | metres | 400 | 280000 | Academic zone perimeter ~700m
Main gate structure | Double-leaf motorised gate; security cabin; boom barrier | 1 | lump sum | 500000 | 500000 | Gate + cabin + boom installed
Street lighting | LED street lights on 6m pole @ 20m intervals along roads | 50 | units | 15000 | 750000 | Solar LED street light pole installed
SUBTOTAL — ROADS & FENCING |  |  |  |  | 19530000
4. UTILITIES & SERVICES (MEP)
Water storage — overhead tanks | 2 × 50,000L RCC overhead tank on school block | 2 | units | 500000 | 1000000 | RCC OHT construction ₹4–6L each
Underground sump | 75,000L RCC underground sump; pump room | 1 | lump sum | 800000 | 800000 | RCC sump + pump installation
STP (Sewage Treatment Plant) | 50 KLD capacity SBR type; underground; landscaped top | 1 | lump sum | 2500000 | 2500000 | 50 KLD STP Pune ₹20–30L
HT/LT electrical — campus | HT line from MSEDCL; transformer; LT distribution; DB panels | 1 | lump sum | 2000000 | 2000000 | Electrical infra ₹15–25L for academic zone
Generator (DG set) | 250 KVA diesel DG set; AMF panel; fuel tank; acoustic enclosure | 1 | unit | 1200000 | 1200000 | 250 KVA DG installed ₹10–15L; KVA TBD by consultant
Rooftop solar provision (structural only) | Structural provision for 75 KWp; actual panels in fit-out | 1 | lump sum | 500000 | 500000 | Civil provision only; panels procured separately
Campus Wi-Fi network cabling | CAT6 cabling; trunking; cable trays — rough-in | 1 | lump sum | 800000 | 800000 | Cabling rough-in ₹6–10L; APs in fit-out
CCTV conduit and cabling | PVC conduit; cabling rough-in for 100 camera points in school | 1 | lump sum | 300000 | 300000 | Conduit only; cameras in fit-out
PNG gas line | Piping from meter bank to Chemistry Lab; lab connections | 1 | lump sum | 200000 | 200000 | PNG internal piping school block
Biogas plant (civil) | Underground PVC digester; inlet; outlet; gas storage | 1 | lump sum | 500000 | 500000 | 10 cubic metre biogas plant for kitchen waste
SUBTOTAL — UTILITIES |  |  |  |  | 9800000
5. LIBRARY BLOCK B — CIVIL
Library Block B — 2 floors | RCC structure; double-height reading hall (18 ft 1F); acoustic study rooms | 5200 | sq ft | 2500 | 13000000 | Includes double-height ceiling provision
Library special acoustic works | Double-skin acoustic walls for 10 study rooms; STC 45 | 10 | rooms | 50000 | 500000 | Acoustic wall per study room ₹40,000–60,000
SUBTOTAL — LIBRARY |  |  |  |  | 13500000
GRAND TOTAL — SCHOOL + LIBRARY CIVIL |  |  |  |  | 178966000 | ~₹20 Cr civil; validate with civil engineer Dr. Shivaji Padwal
Contingency (10%) | Standard project contingency for cost escalation and unknowns |  |  |  | 17896600
TOTAL WITH CONTINGENCY |  |  |  |  | 196862600

## School - Fit-Out & Equipment
DEEPER PUBLIC SCHOOL (CBSE/K12) — FIT-OUT, FURNITURE & EQUIPMENT COST SHEET
Prices sourced from Pune/Maharashtra market — IndiaMART, manufacturer websites, local distributors — July 2026. These are indicative; get fresh quotations before procurement.
Item | Specification | Qty | Unit | Min Price (₹) | Max Price (₹) | Avg Price (₹) | Total (₹)
CLASSROOM FURNITURE & AV (30 Classrooms)
Student desk-bench (2-seater, MS frame) | MS frame + commercial ply + laminate; 2-seater; powder coated | 600 | units | 4000 | 5000 | 4500 | 2700000
Teacher's desk + chair set | 60W×30D wooden desk; high-back fabric chair | 30 | sets | 6000 | 10000 | 8000 | 240000
Interactive Flat Panel (75-inch 4K) | Teachmint/Cornea/DeltaView; 4K; 10-touch; Android 14; EDLA; 3yr warranty | 30 | units | 75000 | 150000 | 112500 | 3375000
IFP wall bracket | Heavy duty wall mount for 75-inch panel | 30 | units | 2000 | 3500 | 2750 | 82500
PA speaker system (per classroom) | Wall speaker + wired mic + amplifier; 15W | 30 | sets | 6000 | 12000 | 9000 | 270000
Wi-Fi access point | Indoor ceiling mount; 300 Mbps+; dual-band | 30 | units | 3500 | 8000 | 5750 | 172500
Magnetic whiteboard (backup) | 6ft × 4ft; white surface; wall mount | 30 | units | 2500 | 4000 | 3250 | 97500
CCTV dome camera per classroom | 2MP IP HD dome; included in campus CCTV budget | 30 | units | 0 | 0 | 0 | 0
SUBTOTAL — CLASSROOM FURNITURE & AV (30 Classrooms) | [6 empty] | 6937500
SCIENCE LABORATORIES (4 Labs)
Physics Lab — full CBSE package (Cl. 9–12) | Vernier calipers, optical bench, pendulum, ammeter, voltmeter, magnets, electrical kits — NCERT compliant | 1 | set | 200000 | 350000 | 275000 | 275000
Physics Lab — furniture (benches+demo table) | 6 island benches; teacher demo table; stools; storage | 1 | set | 120000 | 180000 | 150000 | 150000
Chemistry Lab — full CBSE package (Cl. 9–12) | Glassware, burners, titration, chemicals, reagents, indicators — NCERT compliant | 1 | set | 300000 | 450000 | 375000 | 375000
Fume hoods (2 nos.) | Commercial fume hood; ducted; PP/SS; safety glass sash | 2 | units | 50000 | 80000 | 65000 | 130000
Chemistry Lab — furniture (wet benches+sink) | 8 wet benches with sinks+gas+water; reagent racks; demo table | 1 | set | 200000 | 300000 | 250000 | 250000
Chemistry Lab — safety kit | Fire extinguisher, eyewash station, first aid kit, safety shower | 1 | set | 25000 | 45000 | 35000 | 35000
Biology Lab — full CBSE package (Cl. 9–12) | 30 compound microscopes, slides, specimens, dissection kits, anatomical models, charts | 1 | set | 250000 | 400000 | 325000 | 325000
Biology Lab — furniture | 6 island benches; specimen cabinets; demo table; stools | 1 | set | 120000 | 180000 | 150000 | 150000
Junior Science Lab — composite kit (Cl. 5–8) | Basic physics+chemistry+biology kit for 30 students | 1 | set | 100000 | 200000 | 150000 | 150000
Safety PPE all labs (gloves, aprons, goggles) | Per lab set of 30 PPE kits | 4 | lab sets | 10000 | 20000 | 15000 | 60000
SUBTOTAL — SCIENCE LABORATORIES (4 Labs) | [6 empty] | 1900000
COMPUTER & TECHNOLOGY LABS
Desktop computer — Computer Lab (i5) | Intel Core i5 (13th Gen); 16GB RAM; 512GB SSD; Win11+Office; 21.5" monitor; keyboard+mouse | 40 | units | 45000 | 65000 | 55000 | 2200000
Computer lab table + chair per student | L-shaped 24×18 table; ergonomic chair | 40 | sets | 6000 | 10000 | 8000 | 320000
Network switch for computer lab | 24-port Gigabit managed switch | 2 | units | 8000 | 15000 | 11500 | 23000
UPS for computer lab | 2KVA online UPS; 30-min backup for 40 PCs | 2 | units | 20000 | 30000 | 25000 | 50000
Desktop computer — Robotics Lab (i7) | Intel Core i7; 32GB RAM; 1TB SSD — workstation for AI/coding | 10 | units | 75000 | 100000 | 87500 | 875000
Robotics kits (Arduino/Raspberry Pi based) | Arduino+RPi kit; IoT sensors; breadboard; components per kit | 20 | kits | 5000 | 12000 | 8500 | 170000
3D Printer (FDM) | 30×30×30cm build volume; 0.1mm resolution; filaments | 1 | unit | 40000 | 80000 | 60000 | 60000
School network server (Eduval ERP host) | Rack server 2U; Intel Xeon; 32GB ECC; 4TB RAID storage | 1 | unit | 150000 | 250000 | 200000 | 200000
SUBTOTAL — COMPUTER & TECHNOLOGY LABS | [6 empty] | 3898000
ARTS / MUSIC STUDIO
Electronic keyboard (Casio/Yamaha) | 61-key with speakers and stand | 2 | units | 12000 | 25000 | 18500 | 37000
Tabla set | Professional quality; includes bayan+dayan+cushion | 2 | sets | 5000 | 12000 | 8500 | 17000
Harmonium | Standard pump harmonium; double reed | 2 | units | 8000 | 18000 | 13000 | 26000
Acoustic guitar | Full size; beginner-intermediate grade | 4 | units | 5000 | 12000 | 8500 | 34000
Easels + art boards | Wooden studio easel; A1 boards for drawing | 20 | units | 2500 | 4500 | 3500 | 70000
Pottery wheel + kiln | Electric pottery wheel; tabletop electric kiln | 1 | set | 60000 | 120000 | 90000 | 90000
SUBTOTAL — ARTS / MUSIC STUDIO | [6 empty] | 274000
ADMIN & STAFF ROOMS
Principal office furniture | Executive desk; credenza; 6-chair meeting table; visitor chairs | 1 | set | 80000 | 150000 | 115000 | 115000
VP office furniture set (×3) | Executive desk; 2 visitor chairs; bookshelf per VP | 3 | sets | 25000 | 40000 | 32500 | 97500
Admin/reception counter | Reception counter + back office workstations × 4 | 1 | set | 80000 | 150000 | 115000 | 115000
Staff room workstations (×5 depts) | 6 workstations per dept room; chairs; storage | 5 | rooms | 40000 | 70000 | 55000 | 275000
Seminar room furniture (×4) | 12-seat conference table; chairs; projector screen | 4 | rooms | 35000 | 60000 | 47500 | 190000
Medical bay equipment | 2 examination beds; first aid cabinet; BP/temperature instruments | 1 | set | 30000 | 60000 | 45000 | 45000
SUBTOTAL — ADMIN & STAFF ROOMS | [6 empty] | 837500
CANTEEN KITCHEN & DINING
Commercial cooking range (6-burner PNG) | Heavy duty SS; 6-burner; PNG; stand | 4 | units | 35000 | 60000 | 47500 | 190000
Commercial tilting braising pan (200L) | SS; electric/gas; 200L capacity for bulk cooking | 2 | units | 60000 | 100000 | 80000 | 160000
Commercial food steamer | Large capacity SS steamer | 2 | units | 30000 | 50000 | 40000 | 80000
Walk-in cold room | 12×10 ft SS lined; compressor; shelving | 1 | unit | 200000 | 300000 | 250000 | 250000
Commercial chest freezer (500L) | SS lined; -18°C; 500L | 3 | units | 20000 | 30000 | 25000 | 75000
Exhaust canopy + fan | SS canopy 2m over each range; 2000 CFM fan | 4 | units | 15000 | 25000 | 20000 | 80000
Commercial dishwasher | Pass-through; 600 plates/hour; Hobart/IMC type | 1 | unit | 150000 | 250000 | 200000 | 200000
Canteen dining table + 4 chairs | SS frame; laminate top; 4-seater set | 60 | sets | 6000 | 10000 | 8000 | 480000
Deeper Coins POS terminal | RFID reader + touchscreen POS | 6 | units | 20000 | 30000 | 25000 | 150000
SUBTOTAL — CANTEEN KITCHEN & DINING | [6 empty] | 1665000
HOSTEL FURNITURE (576 RESIDENTIAL STUDENTS)
Hostel bunk bed (2-tier, MS pipe) | MS pipe; 3×6 ft; powder coated; 2-tier | 288 | units | 6000 | 10000 | 8000 | 2304000
Student wardrobe (lockable, per student) | Steel; 3-shelf; 18-inch wide; lockable | 576 | units | 4000 | 6000 | 5000 | 2880000
Hostel study desk + chair (per student) | 36×18 inch desk; ergonomic chair | 576 | sets | 4000 | 6500 | 5250 | 3024000
Self-study hall carrel desks | Individual study carrel; 24W×18D; partition | 150 | units | 3500 | 5000 | 4250 | 637500
Hostel common room (per block, ×6 blocks) | Sofa set + TV unit + indoor games table | 6 | sets | 40000 | 60000 | 50000 | 300000
Hostel washing machines | Commercial front-load 12 kg; per 50 students | 12 | units | 50000 | 80000 | 65000 | 780000
SUBTOTAL — HOSTEL FURNITURE (576 RESIDENTIAL STUDENTS) | [6 empty] | 9925500
TECHNOLOGY SYSTEMS (School Block)
CCTV cameras — school block (100 cameras) | 2MP IP dome; PoE; indoor/outdoor; 30-day NVR | 100 | units | 3500 | 6000 | 4750 | 475000
NVR + storage (school block) | 32-channel NVR; 8TB HDD for 30-day retention | 4 | units | 25000 | 40000 | 32500 | 130000
Wi-Fi access points — school block | Indoor ceiling AP; 300Mbps+; incl. controller | 80 | units | 3500 | 8000 | 5750 | 460000
Digital PA system + bell | Centralised PA controller; 100W amplifier; speakers in 60 rooms+corridors | 1 | system | 600000 | 1000000 | 800000 | 800000
Facial recognition attendance cameras | AI camera at classroom entry; integrates with Eduval ERP | 35 | units | 8000 | 15000 | 11500 | 402500
RFID student ID card system | Cards + readers at gates, canteen, library | 1 | system | 150000 | 350000 | 250000 | 250000
Rooftop solar system (75 KWp) | Poly panels; inverter; mounting; net metering | 75 | KWp | 45000 | 60000 | 52500 | 3937500
UPS for critical areas (server, medical, labs) | 10 KVA online UPS; 2-hour battery backup | 2 | units | 80000 | 120000 | 100000 | 200000
SUBTOTAL — TECHNOLOGY SYSTEMS (School Block) | [6 empty] | 6655000
GRAND TOTAL — SCHOOL FIT-OUT & EQUIPMENT | [6 empty] | 32092500
Contingency (10%) | [6 empty] | 3209250
TOTAL WITH CONTINGENCY — SCHOOL FIT-OUT | [6 empty] | 35301750

## Library - Fit-Out
LIBRARY — FIT-OUT, FURNITURE & EQUIPMENT COST SHEET
Prices from Pune/Maharashtra market — July 2026. Library initial setup budget per survey: ₹20 Lakhs.
Item | Specification | Qty | Unit | Min Price (₹) | Max Price (₹) | Avg Price (₹) | Total (₹)
Steel double-sided library shelving unit | 6-shelf; 3ft wide × 6ft tall; double-sided; 48 books/shelf/face | 100 | units | 4000 | 6000 | 5000 | 500000
Individual reading carrel desk (main hall) | 24W×18D; MDF/hardwood; side partition; lockable drawer | 300 | units | 3500 | 6000 | 4750 | 1425000
Reading chair (padded, armed) | Fabric padded; armrests; sturdy legs; institutional grade | 300 | units | 1800 | 3000 | 2400 | 720000
Child-scale shelving — Junior library | Face-out display; 3ft tall; colourful; adjustable | 20 | units | 3500 | 5000 | 4250 | 85000
Child-scale round table + 4 chairs | 36-inch round; child-scale; durable; colourful | 8 | sets | 5000 | 8000 | 6500 | 52000
Study room table + 10 chairs (10-seater) | 8ft conference table; upholstered chairs | 10 | sets | 15000 | 25000 | 20000 | 200000
RFID library management system | Tags for 10,000 books; RFID gate (2 nos.); staff terminal; membership cards | 1 | system | 250000 | 450000 | 350000 | 350000
e-Library desktop computers | Intel Core i5; 21.5" monitor; for digital database access | 10 | units | 40000 | 55000 | 47500 | 475000
Librarian workstation | Height-adj desk; ergonomic chair; dual monitor; RFID terminal | 1 | set | 20000 | 30000 | 25000 | 25000
Newspaper/magazine display rack | Wall or floor-standing; holds 10–15 newspapers | 5 | units | 2500 | 5000 | 3750 | 18750
Book trolley (SS on wheels) | SS shelves; 4 wheels; for shelf replenishment | 5 | units | 3000 | 5000 | 4000 | 20000
Study room AV screen | 60-inch display screen; wall mount; HDMI input | 10 | units | 25000 | 45000 | 35000 | 350000
10,000 physical books (initial collection) | Mix: NCERT ₹200, reference ₹400, fiction ₹250, Marathi ₹200, children ₹150 avg ₹200 | 10000 | books | 150 | 300 | 225 | 2250000
Annual digital database subscriptions | NCERT digital; academic journals (JSTOR); online resources — Year 1 | 1 | lump sum | 200000 | 500000 | 350000 | 350000
Library Wi-Fi + CCTV (10 cameras) | Ceiling APs + cameras specific to library block | 1 | set | 80000 | 120000 | 100000 | 100000
GRAND TOTAL — LIBRARY FIT-OUT | [6 empty] | 6920750
Contingency (10%) | [6 empty] | 692075
TOTAL WITH CONTINGENCY — LIBRARY | [6 empty] | 7612825